## Slide 1: Critical Infrastructure Resilience
John Pardue, Ph.D., P.E.
Hazardous Substance Research Center
Louisiana State University
jpardue@lsu.edu

## Slide 3
Network Model of Gulf of Mexico Crude Oil Production

## Slide 4
Network Model of Bay Area Transit System

## Slide 6: Severe storms and bulk chemical storage John H Pardue, LSU
Environmental Impacts of Katrina
Louisiana Water Resources Research Institute Hazardous Substance Research Center SSPEED Center

## Slide 7
Delta Terminal
West Bank, Harvey, LA

## Slide 11: Outline
Katrina chemical spills
Mechanisms of hurricane-induced spills
Hurricane Isaac and Stolthaven
Possible solutions

## Slide 13
Chevron Empire facility

## Slide 15
Bass Enterprises

## Slide 16
Meraux, LA
Murphy Oil

## Slide 19: Outline
Katrina spills
Mechanisms of hurricane-induced spills
Hurricane Isaac and Stolthaven
Possible solutions

## Slide 20: Common failure mechanism

## Slide 21: Secondary Containment Regulations
Designed or operated to contain 100% of the capacity of the largest tank within its boundary.
Designed or operated to prevent run-on or infiltration of precipitation into the secondary containment system unless the collection system has sufficient excess capacity to contain run-on or infiltration. Such additional capacity must be sufficient to contain precipitation from a 25-year, 24-hour rainfall event.
Free of cracks or gaps.
Designed and installed to surround the tank completely and to cover all surroundings likely to come into contact with the waste if the waste is released from the tank(s) (i.e., capable of preventing lateral as well as vertical migration of the waste)

## Slide 24
Meraux Oil Spill (Murphy Refinery, 2005)
Notes: My lab was very involved with evaluating impacts of the Murphy Oil spill during Katrina. I shot this photo in the aftermath demonstrating the level of oiling about 6 blocks from this 1 million gallon source. Oil had seeped into the brick and a ring of oil surrounded the house inside and out. The potential health impacts of this for the returning residents is unknown.

## Slide 29: Outline
Katrina spills
Mechanisms of hurricane-induced spills
Hurricane Isaac and Stolthaven
Possible solutions

## Slide 32
methyl acrylate, octene, styrene, formic acid and monochlorobenzene

## Slide 35
68 storage tanks were in service on the terminal before the storm.
14 tanks and piping systems were damaged.
Several of the tanks have lost product. The containment system around the tanks captured much of this and protective booms were placed around the tanks and the entire terminal to collect any spilled product and keep it contained within the terminal.
142 railcars were derailed by the storm. All of those rail cars have been rerailed, and are being inspected and repaired.
Stolthaven impacts

## Slide 37: Outline
Katrina spills
Mechanisms of hurricane-induced spills
Hurricane Isaac and Stolthaven
Possible solutions

## Slide 38: Possible solutions
Determine worst case scenarios and educate first responders
Develop structural solutions to common failure mechanisms
Improve reporting and assessment post-spill

## Slide 42: Possible solutions
Determine worst case scenarios and educate first responders
Develop structural solutions to common failure mechanisms
Improve reporting and assessment post-spill

## Slide 44
Surge
drainage

## Slide 45: Possible solutions
Determine worst case scenarios and educate first responders
Develop structural solutions to common failure mechanisms
Improve reporting and assessment post-spill

## Slide 46
Questions?